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	TECHNICAL SPECIFICATIONS

	Rated heat output
	max kW 23.7

	Min. efficiency
	70.4%

	Smoke pipe
	Ø 150 mm

	Heatable space *
	max 600 m3

	Weight
	200 kg

	Dimensions
	H x W x D = 850 x 670 x 650 mm

	* the heatable space depends on the insulation conditions in the home


